## Sites
Site_ID | Site_Name | Latitude | Longitude | Elevation_mabsl | Address | City | State_or_Province | Country | Site_Comments
DSC | Desert Studies Center, Zzyzx, CA | 35.1429 | -116.1047 | 280 |  |  | CA | US
CRS | Creosote soil site, Mojave NP | 35.1061 | -115.5507 | 940 |  |  | CA | US
PJ | Pinyon Juniper soil site, Mojave NP | 35.1958 | -115.3476 | 1600 |  |  | CA | US
Rock Spring | Rock Spring, Mojave NP | 35.1528 | -115.3301 | 1456 |  |  | CA | US
JT | Joshua Tree soil site, Mojave NP | 35.1691 | -115.4801 | 1250 |  |  | CA | US
Reynolds Creek | Reynolds Creek, ID | 43.2092 | -116.7479 | 1180 |  |  | ID | US
Snake River | Snake River at Walter's Ferry, ID | 43.3417 | -116.6029 | 686 |  |  | ID | US
NancyGulch | Nancy Gulch, ID | 43.1697 | -116.711 | 1410 |  |  | ID | US
JER | Jornada Experimental Range | 32.5833 | -106.632 | 1400 |  |  | NM | US
UTEP | University of Texas at El Paso | 31.7701 | -106.5053 | 1200 |  |  | NM | US
CSAND | CSAND NPP Site, Jornada | 32.5151 | -106.7909 | 1359 |  |  | NM | US
Note on A1: gjbowen: primary key, must be unique per site
Note on C1: gjbowen: Decimal degrees, +/-
Note on D1: gjbowen: Decimal degrees, +/-
Note on H1: gjbowen: 2 letter code
Note on I1: gjbowen: 2 letter UN code

## Samples
Sample_ID | Sample_ID_2 | Site_ID | Type | Start_Date | Start_Time_Zone | Collection_Date | Collection_Time_Zone | Sample_Volume_ml | Collector_type | Phase | Depth_meters | Sample_Source | Sample_Ignore | Sample_Comments | Project_ID
IPL-21W-1907 | 1907 | Reynolds Creek | River_or_stream | NA | ET | 2021-08-18 | ET |  | dip | liquid |  |  | 0 | Stagnant, accessed from bridge leaving RCEW
IPL-21W-1908 | 1908 | Snake River | River_or_stream | NA | ET | 2021-08-18 | ET |  | dip | liquid |  |  | 0 | Walters Ferry, accessed from dock
IPL-22W-1911 | 1911 | DSC | Ground | NA | ET | 2022-01-02 | ET |  | well | liquid |  |  | 0 | MOJ-DSC-Well
IPL-22W-1912 | 1912 | DSC | Precipitation | NA | ET | 2022-01-02 | ET |  | bucket with funnel and oil | liquid |  |  | 0 | MOJ-DSC-Well
IPL-22W-1913 | 1913 | CRS | Precipitation | NA | ET | 2022-01-18 | ET |  |  | liquid |  |  | 0 | MOJ-CRS, bucket collection from Oct 21-Jan 22
IPL-22W-1914 | 1914 | DSC | Ground | NA | ET | 2022-01-19 | ET |  | well | liquid |  |  | 0 | MOJ-DSC-Well
IPL-22W-1915 | 1915 | DSC | Precipitation | NA | ET | 2022-01-19 | ET |  | bucket with funnel and oil | liquid |  |  | 0 | MOJ-DSC-Well
IPL-21W-1918 | 1918 | NancyGulch | Precipitation | NA | ET | 2021-09-29 | ET |  |  | liquid |  |  | 0 | collected by USDA ARS, Caitlyn @ 9-29-2021 2:25 MST
IPL-21W-1919 | 1919 | NancyGulch | Precipitation | NA | ET | 2021-11-02 | ET |  |  | liquid |  |  | 0 | collected by USDA ARS, Caitlyn @ 2-11-2021 9:41 MST, transfered at 16:41 MST. Date must be Nov 2 2021 based on when sample was recieved and when project started
IPL-21W-1932 | 1932 | NancyGulch | Precipitation | NA | ET | 2021-11-29 | ET |  |  | liquid |  |  | 0 | collected by Caitlyn @ 11-29-2021 10:45 MST, transferred at 18:03 MST. 170
IPL-22W-1933 | 1933 | NancyGulch | Precipitation | NA | ET | 2022-01-12 | ET |  |  | liquid |  |  | 0 | collected by Alex @ 1-12-2022 10:30 MST, transferred 1-13-2022 @ 13:39 MST
IPL-22W-1935 | 1935 | NancyGulch | Precipitation | NA | ET | 2022-02-16 | ET |  |  | liquid |  |  | 0 | collected by Alex @ 2-16-2022 14:00 MST, transferred 16:35 MST
IPL-22W-1936 | 1936 | NancyGulch | Precipitation | NA | ET | 2022-04-07 | ET |  |  | liquid |  |  | 0 | collected by Alex @ 4-7-2022 12:30 MST, transferred 14:40 MST. RCEW
IPL-22W-1944 | 1944 | JER | Spring | NA | ET | 2022-03-23 | ET |  | dip | liquid |  |  | 0 | running water feeding pool
IPL-19W-1945 | 1945 | JER | Spring | NA | ET | 2022-03-23 | ET |  | dip | liquid |  |  | 0 | mossy trickle
IPL-22W-1946 | 1946 | JER | Spring | NA | ET | 2022-03-23 | ET |  | dip | liquid |  |  | 0 | lower stagnant pool
IPL-18W-1949 | 1949 | UTEP | Precipitation | NA | ET | 2018-10-23 | ET |  |  | liquid |  |  | 0 | UT-2018 Oct23-1 UTEP 3pm
IPL-18W-1950 | 1950 | UTEP | Precipitation | NA | ET | 2018-10-23 | ET |  |  | liquid |  |  | 0 | UT-2018 Oct23-2 UTEP 5pm
IPL-19W-1951 | 1951 | UTEP | Precipitation | NA | ET | 2018-10-23 | ET |  |  | liquid |  |  | 0 | UT-2018 Oct23-3 UTEP 28:00pm
IPL-18W-1952 | 1952 | JER | Precipitation | NA | ET | 2019-02-27 | ET |  |  | liquid |  |  | 0 | Jornada 11:30am
IPL-19W-1953 | 1953 | UTEP | Precipitation | NA | ET | 2019-08-26 | ET |  |  | liquid |  |  | 0 | UT-2019 Aug26 UTFP 12:03pm
IPL-19W-1955 | 1955 | JER | Precipitation | NA | ET | 2019-10-05 | ET |  |  | liquid |  |  | 0 | Rainfall JER S1 10-5-19 3:15pm
IPL-19W-1956 | 1956 | JER | Precipitation | NA | ET | 2019-12-20 | ET |  |  | liquid |  |  | 0 | Rainfall JER S2 12-20-19 9:55am
IPL-19W-1957 | 1957 | JER | Precipitation | NA | ET | 2019-06-24 | ET |  |  | liquid |  |  | 0 | JER2019 June24 6-24-19 10:30am
IPL-19W-1958 | 1958 | JER | Precipitation | NA | ET | 2019-12-20 | ET |  |  | liquid |  |  | 0 | Rainfall JER S1 12-20-19 9:55am
IPL-22W-1969 | 1969 | JER | Precipitation | NA | ET | 2021-10-09 | ET |  |  | liquid |  |  | 0 | NA
IPL-22W-1970 | 1970 | UTEP | Precipitation | NA | ET | 2022-10-01 | ET |  |  | liquid |  |  | 0 | 10-1-22 UTEP, but mustbe 10-1-21 based on receiving the sample in spring of 2022
IPL-22W-1972 | 1972 | JER | Precipitation | NA | ET | 2022-04-21 | ET |  |  | liquid |  |  | 0 | 44672.5014
IPL-22W-1973 | 1973 | DSC | Precipitation | NA | ET | 2022-02-24 | ET |  | bucket with funnel and oil | liquid |  |  | 0 | MOJ-DSC-Rain
IPL-22W-1974 | 1974 | DSC | Ground | NA | ET | 2022-02-25 | ET |  | well | liquid |  |  | 0 | MOJ-DSC-Well
IPL-22W-1975 | 1975 | DSC | Precipitation | NA | ET | 2022-07-05 | ET |  | bucket with funnel and oil | liquid |  |  | 0 | MOJ-DSC-Rain
IPL-22W-1976 | 1976 | DSC | Ground | NA | ET | 2022-07-05 | ET |  | well | liquid |  |  | 0 | MOJ-DSC-Well
IPL-22W-1999 | 1999 | NancyGulch | Precipitation | NA | ET | 2022-04-18 | ET |  |  | liquid |  |  | 0 | CZ17O Nancys Gulch collected by AB @ 1100 on 20220418 transferred by CS @ 1424 on 20220419
IPL-22W-2000 | 2000 | NancyGulch | Precipitation | NA | ET | 2022-05-18 | ET |  |  | liquid |  |  | 0 | CZ17O Nancys Gulch collected 20220518 at ~14:00. Transferred 20220518 @ ~15:45
IPL-22W-2001 | 2001 | NancyGulch | Precipitation | NA | ET | 2022-07-25 | ET |  |  | liquid |  |  | 0 | CZ17O Nancy's Gulch collected by CS/VP @ 10:11 MST, transferred @ 18:06 MST
IPL-22W-2002 | 2002 | NancyGulch | Precipitation | NA | ET | 2022-08-18 | ET |  |  | liquid |  |  | 0 | CZ17O Nancy Gulch by VP, collected @ 10:13 MST, transferred @ 13:14 MST
IPL-22W-2040 | 2040 | NancyGulch | Precipitation | NA | ET | 2022-11-09 | ET |  |  | liquid |  |  | 0 | Collected 12:31 MST, transferred 14:42 MST
IPL-22W-2041 | 2041 | NancyGulch | Precipitation | NA | ET | 2022-10-17 | ET |  |  | liquid |  |  | 0 | Collected 10:49 MST, transferred 14:35 MST
IPL-22W-2054 | 2054 | CRS | Precipitation | NA | ET | 2022-09-16 | ET |  |  | liquid |  |  | 0 | Mojave CRS rain bucket, collected by Jane Kelson
IPL-21W-2057 | 2057 | DSC | Ground | NA | ET | 2022-08-01 | ET |  | well | liquid |  |  | 0 | MOJ-DSC-Well collected by Emily Dyer
IPL-21W-2058 | 2058 | DSC | Precipitation | NA | ET | 2022-08-09 | ET |  | bucket with funnel and oil | liquid |  |  | 0 | MOJ-DSC-Rain collected by Jason Wallace
IPL-21W-2059 | 2059 | DSC | Ground | NA | ET | 2022-08-09 | ET |  | well | liquid |  |  | 0 | MOJ-DSC-Well collected by Jason Wallace
IPL-21W-2060 | 2060 | DSC | Precipitation | NA | ET | 2022-08-24 | ET |  | bucket with funnel and oil | liquid |  |  | 0 | MOJ-DSC-Rain collected by Jason Wallace
IPL-21W-2063 | 2063 | DSC | Ground | NA | ET | 2022-11-01 | ET |  | well | liquid |  |  | 0 | MOJ-DSC-Well collected by Jason Wallace
IPL-21W-2064 | 2064 | DSC | Precipitation | NA | ET | 2023-01-02 | ET |  | bucket with funnel and oil | liquid |  |  | 0 | MOJ-DSC-Rain collected by Emily Dyer
IPL-23W-2069 | 2069 | RockSpring | Spring | NA | ET | 2023-01-17 | ET |  | dip | liquid |  |  | 0 | NA
IPL-23W-2072 | 2072 | CRS | Precipitation | NA | ET | 2022-05-15 | ET |  |  | liquid |  |  | 0 | Mojave CRS rain bucket, collected by Miriam Bartleson and Julia Kelson (logged out of chronologic order)
IPL-23W-2075 | 2075 | UTEP | Precipitation | NA | ET | 2022-06-30 | ET |  |  | liquid |  |  | 0 | UTEP-JOR-1
IPL-23W-2076 | 2076 | UTEP | Precipitation | NA | ET | 2022-07-02 | ET |  |  | liquid |  |  | 0 | UTEP-JOR-2
IPL-23W-2077 | 2077 | UTEP | Precipitation | NA | ET | 2022-07-03 | ET |  |  | liquid |  |  | 0 | UTEP-JOR-3
IPL-23W-2079 | 2079 | UTEP | Precipitation | NA | ET | 2022-07-26 | ET |  |  | liquid |  |  | 0 | UTEP-JOR-5
IPL-23W-2080 | 2080 | UTEP | Precipitation | NA | ET | 2022-07-30 | ET |  |  | liquid |  |  | 0 | UTEP-JOR-6
IPL-23W-2081 | 2081 | UTEP | Precipitation | NA | ET | 2022-08-03 | ET |  |  | liquid |  |  | 0 | UTEP-JOR-7
IPL-23W-2082 | 2082 | UTEP | Precipitation | NA | ET | 2022-08-04 | ET |  |  | liquid |  |  | 0 | UTEP-JOR-8
IPL-23W-2083 | 2083 | UTEP | Precipitation | NA | ET | 2022-08-05 | ET |  |  | liquid |  |  | 0 | UTEP-JOR-9
IPL-23W-2084 | 2084 | UTEP | Precipitation | NA | ET | 2022-08-06 | ET |  |  | liquid |  |  | 0 | UTEP-JOR-10
IPL-23W-2085 | 2085 | UTEP | Precipitation | NA | ET | 2022-08-13 | ET |  |  | liquid |  |  | 0 | UTEP-JOR-12
IPL-23W-2086 | 2086 | UTEP | Precipitation | NA | ET | 2022-08-17 | ET |  |  | liquid |  |  | 0 | UTEP-JOR-13
IPL-23W-2087 | 2087 | UTEP | Precipitation | NA | ET | 2022-08-18 | ET |  |  | liquid |  |  | 0 | UTEP-JOR-14
IPL-23W-2088 | 2088 | UTEP | Precipitation | NA | ET | 2022-08-20 | ET |  |  | liquid |  |  | 0 | UTEP-JOR-15
IPL-23W-2089 | 2089 | UTEP | Precipitation | NA | ET | 2022-08-23 | ET |  |  | liquid |  |  | 0 | UTEP-JOR-16
IPL-23W-2090 | 2090 | UTEP | Precipitation | NA | ET | 2022-08-28 | ET |  |  | liquid |  |  | 0 | UTEP-JOR-17
IPL-23W-2091 | 2091 | UTEP | Precipitation | NA | ET | 2022-09-01 | ET |  |  | liquid |  |  | 0 | UTEP-JOR-18
IPL-23W-2092 | 2092 | UTEP | Precipitation | NA | ET | 2022-09-06 | ET |  |  | liquid |  |  | 0 | UTEP-JOR-19
IPL-23W-2093 | 2093 | UTEP | Precipitation | NA | ET | 2022-09-13 | ET |  |  | liquid |  |  | 0 | UTEP-JOR-20
IPL-23W-2094 | 2094 | UTEP | Precipitation | NA | ET | 2022-09-14 | ET |  |  | liquid |  |  | 0 | UTEP-JOR-21
IPL-23W-2095 | 2095 | UTEP | Precipitation | NA | ET | 2022-09-19 | ET |  |  | liquid |  |  | 0 | UTEP-JOR-22
IPL-23W-2096 | 2096 | UTEP | Precipitation | NA | ET | 2022-10-17 | ET |  |  | liquid |  |  | 0 | UTEP-JOR-23
IPL-23W-2120 | 2120 | DSC | Precipitation | NA | ET | 2023-02-04 | ET |  | bucket with funnel and oil | liquid |  |  | 0 | MOJ-DSC-Rain collected by Emily Dyer
IPL-23W-2121 | 2121 | DSC | Ground | NA | ET | 2023-02-04 | ET |  | well | liquid |  |  | 0 | MOJ-DSC-Well collected by Emily Dyer
IPL-23W-2122 | 2122 | DSC | Precipitation | NA | ET | 2023-04-02 | ET |  | bucket with funnel and oil | liquid |  |  | 0 | MOJ-DSC-Rain collected by Emily Dyer
IPL-23W-2123 | 2123 | DSC | Ground | NA | ET | 2023-04-02 | ET |  | well | liquid |  |  | 0 | MOJ-DSC-Well collected by Emily Dyer
IPL-23W-2125 | 2125 | JT | Precipitation | NA | ET | 2023-05-20 | ET |  |  | liquid |  |  | 0 | collected during a thunderstorm with minor jail on a frisbee, at JTree station, from 13:00-14:00
IPL-23W-2126 | 2126 | JT | Precipitation | NA | ET | 2023-05-20 | ET |  |  | liquid |  |  | 0 | rain bucket left at site collected 05/20/23
IPL-23W-2127 | 2127 | PJ | Precipitation | NA | ET | 2023-05-21 | ET |  |  | liquid |  |  | 0 | collected during a thunderstorm with minor jail on a frisbee, at Pinyon Juniper station, from 11:30-14:00
IPL-23W-2128 | 2128 | PJ | Precipitation | NA | ET | 2023-05-21 | ET |  |  | liquid |  |  | 0 | MOJ PJ water collected on lid of wx station with a syringe, collected at 11:00 am before today's rain, and it had rained yesterday
IPL-23W-2167 | 2167 | NancyGulch | Precipitation | NA | ET | 2023-01-05 | ET |  |  | liquid |  |  | 0 | collected by USDA ARS, collected @ 11:42 MST, transfered @ 15:54 MST
IPL-23W-2168 | 2168 | NancyGulch | Precipitation | NA | ET | 2023-02-21 | ET |  |  | liquid |  |  | 0 | collected by USDA ARS, collected @ 13:30MST, transfered @ 15:33 MST
IPL-23W-2169 | 2169 | NancyGulch | Precipitation | NA | ET | 2023-03-21 | ET |  |  | liquid |  |  | 0 | collected by USDA ARS, collected @ 8:37MST, transfered @ 13:59 MST
IPL-23W-2170 | 2170 | NancyGulch | Precipitation | NA | ET | 2023-04-24 | ET |  |  | liquid |  |  | 0 | collected by USDA ARS, collected @ 8:49MST, transfered @ 16:09 MST
IPL-23W-2171 | 2171 | NancyGulch | Precipitation | NA | ET | 2023-05-26 | ET |  |  | liquid |  |  | 0 | collected by USDA ARS, collected @ 12:05MST, transfered @ 14:03 MST
IPL-23W-2467 | 2467 | JT | Precipitation | NA | ET | 2023-09-26 | ET |  |  | liquid |  |  | 0 | collected by Kirsten, green floaties, filtered at zzyzx
IPL-23W-2472 | 2472 | DSC | Ground | NA | ET | 2023-08-24 | ET |  | well | liquid |  |  | 0 | MOJ-DSC-Rain collected by Jason Wallace
IPL-23W-2473 | 2473 | DSC | Precipitation | NA | ET | 2023-08-24 | ET |  | bucket with funnel and oil | liquid |  |  | 0 | MOJ-DSC-Well collected by Jason Wallace
IPL-23W-2474 | 2474 | DSC | Ground | NA | ET | 2023-08-03 | ET |  | well | liquid |  |  | 0 | MOJ-DSC-Rain collected by Emily Dyer
IPL-23W-2475 | 2475 | DSC | Precipitation | NA | ET | 2023-08-03 | ET |  | bucket with funnel and oil | liquid |  |  | 0 | MOJ-DSC-Well collected by Emily Dyer
IPL-23W-2481 | 2481 | NancyGulch | Precipitation | NA | ET | 2023-09-15 | ET |  |  | liquid |  |  | 0 | collected on 20230915 @ 12:48 MDT, transferred at 14:42 MDT
sw10 | NG-O-15-Aug21sw | NancyGulch | Soil | NA | ET | 2021-08-17 | ET |  | auger/cryogenic extraction | liquid | 15 |  | 0 | NA
sw100 | MOJ-PJ-24-May22sw | PJ | Soil | NA | ET | 2022-05-16 | ET |  | auger/cryogenic extraction | liquid | 24 |  | 0 | NA
sw102 | MOJ-CRS-31-May22sw | CRS | Soil | NA | ET | 2022-05-15 | ET |  | auger/cryogenic extraction | liquid | 31 |  | 0 | NA
sw106 | MOJ-JT-22-Oct21sw | JT | Soil | NA | ET | 2021-10-16 | ET |  | auger/cryogenic extraction | liquid | 22 |  | 0 | NA
sw107 | MOJ-CRS-15-Oct21sw | CRS | Soil | NA | ET | 2021-10-17 | ET |  | auger/cryogenic extraction | liquid | 15 |  | 0 | NA
sw108 | JOR-CSAND-2-24-Mar22sw | CSAND | Soil | NA | ET | 2022-03-22 | ET |  | auger/cryogenic extraction | liquid | 24 |  | 0 | NA
sw109 | JOR-CSAND-4-19-Sep22sw | CSAND | Soil | NA | ET | 2022-09-09 | ET |  | auger/cryogenic extraction | liquid | 19 |  | 0 | NA
sw11 | NG-J-20-Aug21sw | NancyGulch | Soil | NA | ET | 2021-08-17 | ET |  | auger/cryogenic extraction | liquid | 20 |  | 0 | NA
sw113 | MOJ-CRS-23-May22sw | CRS | Soil | NA | ET | 2022-05-15 | ET |  | auger/cryogenic extraction | liquid | 23 |  | 0 | NA
sw114 | MOJ-CRS-64-Sep22sw | CRS | Soil | NA | ET | 2022-09-16 | ET |  | auger/cryogenic extraction | liquid | 64 |  | 0 | NA
sw115 | JOR-CSAND-4-19-Sep22sw | CSAND | Soil | NA | ET | 2022-09-09 | ET |  | auger/cryogenic extraction | liquid | 19 |  | 0 | NA
sw118 | NG-D-20-Aug22 | NancyGulch | Soil | NA | ET | 2022-08-19 | ET |  | auger/cryogenic extraction | liquid | 20 |  | 0 | NA
sw119 | NG-E-26.5-Mar22sw | NancyGulch | Soil | NA | ET | 2022-03-18 | ET |  | auger/cryogenic extraction | liquid | 26.5 |  | 0 | NA
sw120 | MOJ-CRS-5-Jan23sw | CRS | Soil | NA | ET | 2023-01-16 | ET |  | auger/cryogenic extraction | liquid | 5 |  | 0 | NA
sw121 | MOJ-JT-64-Jan23sw | JT | Soil | NA | ET | 2023-01-16 | ET |  | auger/cryogenic extraction | liquid | 64 |  | 0 | NA
sw122 | MOJ-CRS-22-Jan23sw | CRS | Soil | NA | ET | 2023-01-16 | ET |  | auger/cryogenic extraction | liquid | 22 |  | 0 | NA
sw123 | MOJ-CRS-64-Jan23sw | CRS | Soil | NA | ET | 2023-01-16 | ET |  | auger/cryogenic extraction | liquid | 64 |  | 0 | NA
sw124 | MOJ-JT-19-Jan23sw | JT | Soil | NA | ET | 2023-01-16 | ET |  | auger/cryogenic extraction | liquid | 19 |  | 0 | NA
sw125 | MOJ-JT-32-Jan23sw | JT | Soil | NA | ET | 2023-01-16 | ET |  | auger/cryogenic extraction | liquid | 32 |  | 0 | NA
sw126 | MOJ-PJ-70-Jan23sw | PJ | Soil | NA | ET | 2023-01-17 | ET |  | auger/cryogenic extraction | liquid | 70 |  | 0 | NA
sw127 | MOJ-PJ-5-Jan23sw | PJ | Soil | NA | ET | 2023-01-17 | ET |  | auger/cryogenic extraction | liquid | 5 |  | 0 | NA
sw128 | MOJ-PJ-17-Jan23sw | PJ | Soil | NA | ET | 2023-01-17 | ET |  | auger/cryogenic extraction | liquid | 17 |  | 0 | NA
sw129 | NG-K-60-Mar23sw | NancyGulch | Soil | NA | ET | 2023-03-24 | ET |  | auger/cryogenic extraction | liquid | 60 |  | 0 | NA
sw130 | JOR-CSAND-5-39-Feb23sw | CSAND | Soil | NA | ET | 2023-02-03 | ET |  | auger/cryogenic extraction | liquid | 39 |  | 0 | NA
sw131 | NG-K-5-Mar23 | NancyGulch | Soil | NA | ET | 2023-03-24 | ET |  | auger/cryogenic extraction | liquid | 5 |  | 0 | NA
sw132 | NG-K-33-Mar23 | NancyGulch | Soil | NA | ET | 2023-03-24 | ET |  | auger/cryogenic extraction | liquid | 33 |  | 0 | NA
sw134 | JOR-CSAND-5-61-Feb23sw | CSAND | Soil | NA | ET | 2023-02-03 | ET |  | auger/cryogenic extraction | liquid | 61 |  | 0 | NA
sw135 | JOR-CSAND-5-12-Feb23sw | CSAND | Soil | NA | ET | 2023-02-03 | ET |  | auger/cryogenic extraction | liquid | 12 |  | 0 | NA
sw137 | JOR-CSAND-6-39-May23 | CSAND | Soil | NA | ET | 2023-05-11 | ET |  | auger/cryogenic extraction | liquid | 39 |  | 0 | NA
sw138 | JOR-CSAND-6-60-May23 | CSAND | Soil | NA | ET | 2023-05-11 | ET |  | auger/cryogenic extraction | liquid | 60 |  | 0 | NA
sw139 | JOR-CSAND-6-10-May23 | CSAND | Soil | NA | ET | 2023-05-11 | ET |  | auger/cryogenic extraction | liquid | 10 |  | 0 | NA
sw14 | MOJ-CRS-15-Jan22sw | CRS | Soil | NA | ET | 2022-01-18 | ET |  | auger/cryogenic extraction | liquid | 15 |  | 0 | NA
sw140 | JOR-CSAND-6-60-May23 | CSAND | Soil | NA | ET | 2023-05-11 | ET |  | auger/cryogenic extraction | liquid | 60 |  | 0 | NA
sw141 | NG-H-5-Nov22sw | NancyGulch | Soil | NA | ET | 2022-11-19 | ET |  | auger/cryogenic extraction | liquid | 0 |  | 0 | NA
sw143 | MOJ-JT-37-May23sw | JT | Soil | NA | ET | 2023-05-20 | ET |  | auger/cryogenic extraction | liquid | 37 |  | 0 | NA
sw145 | MOJ-JT-15-May23sw | JT | Soil | NA | ET | 2023-05-20 | ET |  | auger/cryogenic extraction | liquid | 15 |  | 0 | NA
sw147 | MOJ-CRS-5-May23sw | CRS | Soil | NA | ET | 2023-05-20 | ET |  | auger/cryogenic extraction | liquid | 5 |  | 0 | NA
sw148 | MOJ-CRS-5-May23sw | CRS | Soil | NA | ET | 2023-05-20 | ET |  | auger/cryogenic extraction | liquid | 5 |  | 0 | NA
sw149 | MOJ-CRS-62-May23sw | CRS | Soil | NA | ET | 2023-05-20 | ET |  | auger/cryogenic extraction | liquid | 62 |  | 0 | NA
sw15 | MOJ-CRS-52-Jan22sw | CRS | Soil | NA | ET | 2022-01-18 | ET |  | auger/cryogenic extraction | liquid | 52 |  | 0 | NA
sw150 | MOJ-CRS-15-May23sw | CRS | Soil | NA | ET | 2023-05-20 | ET |  | auger/cryogenic extraction | liquid | 15 |  | 0 | NA
sw151 | MOJ-JT-69-May23sw | JT | Soil | NA | ET | 2023-05-20 | ET |  | auger/cryogenic extraction | liquid | 69 |  | 0 | NA
sw152 | MOJ-JT-5-May23sw | JT | Soil | NA | ET | 2023-05-20 | ET |  | auger/cryogenic extraction | liquid | 5 |  | 0 | NA
sw153 | NG-L-25-Jun23 | NancyGulch | Soil | NA | ET | 2023-06-21 | ET |  | auger/cryogenic extraction | liquid | 25 |  | 0 | NA
sw154 | NG-L-25-Jun23 | NancyGulch | Soil | NA | ET | 2023-06-21 | ET |  | auger/cryogenic extraction | liquid | 25 |  | 0 | NA
sw155 | NG-L-5-Jun23 | NancyGulch | Soil | NA | ET | 2023-06-21 | ET |  | auger/cryogenic extraction | liquid | 5 |  | 0 | NA
sw156 | NG-L-55-Jun23 | NancyGulch | Soil | NA | ET | 2023-06-21 | ET |  | auger/cryogenic extraction | liquid | 55 |  | 0 | NA
sw157 | NG-H-21-Nov22sw | NancyGulch | Soil | NA | ET | 2022-11-19 | ET |  | auger/cryogenic extraction | liquid | 10 |  | 0 | NA
sw158 | NG-H-59-Nov22sw | NancyGulch | Soil | NA | ET | 2022-11-19 | ET |  | auger/cryogenic extraction | liquid | 59 |  | 0 | NA
sw159 | NG-H-59-Nov22sw | NancyGulch | Soil | NA | ET | 2022-11-19 | ET |  | auger/cryogenic extraction | liquid | 59 |  | 0 | NA
sw16 | MOJ-PJ-20-Jan22sw | PJ | Soil | NA | ET | 2022-01-20 | ET |  | auger/cryogenic extraction | liquid | 20 |  | 0 | NA
sw160 | MOJ-PJ-16-May23sw | PJ | Soil | NA | ET | 2023-05-21 | ET |  | auger/cryogenic extraction | liquid | 16 |  | 0 | NA
sw161 | MOJ-PJ-57-May23sw | PJ | Soil | NA | ET | 2023-05-21 | ET |  | auger/cryogenic extraction | liquid | 57 |  | 0 | NA
sw162 | MOJ-PJ-5-May23sw | PJ | Soil | NA | ET | 2023-05-21 | ET |  | auger/cryogenic extraction | liquid | 5 |  | 0 | NA
sw163 | MOJ-PJ-5-May23sw | PJ | Soil | NA | ET | 2023-05-21 | ET |  | auger/cryogenic extraction | liquid | 5 |  | 0 | NA
sw165 | NG-D-39-Aug22 | NancyGulch | Soil | NA | ET | 2022-08-19 | ET |  | auger/cryogenic extraction | liquid | 39 |  | 0 | NA
sw167 | NG-K-5-Mar23 | NancyGulch | Soil | NA | ET | 2023-03-24 | ET |  | auger/cryogenic extraction | liquid | 5 |  | 0 | NA
sw168 | NG-K-13-Mar23 | NancyGulch | Soil | NA | ET | 2023-03-24 | ET |  | auger/cryogenic extraction | liquid | 13 |  | 0 | NA
sw169 | JOR-CSAND-3-62-Jun22sw | CSAND | Soil | NA | ET | 2022-06-06 | ET |  | auger/cryogenic extraction | liquid | 62 |  | 0 | NA
sw17 | MOJ-PJ-56-Jan22sw | PJ | Soil | NA | ET | 2022-01-20 | ET |  | auger/cryogenic extraction | liquid | 56 |  | 0 | NA
sw170 | JOR-CSAND-5-19-Feb23sw | CSAND | Soil | NA | ET | 2023-02-03 | ET |  | auger/cryogenic extraction | liquid | 19 |  | 0 | NA
sw171 | JOR-CSAND-2-89-Mar22sw | CSAND | Soil | NA | ET | 2022-03-22 | ET |  | auger/cryogenic extraction | liquid | 89 |  | 0 | NA
sw172 | JOR-CSAND-4-59-Sep22sw | CSAND | Soil | NA | ET | 2022-09-09 | ET |  | auger/cryogenic extraction | liquid | 59 |  | 0 | NA
sw173 | 2A-13R-4 | Red Lake Playa DCZ | Soil | NA | ET | 2023-03-05 | ET |  | auger/cryogenic extraction | liquid | 1974 |  | 0 | NA
sw174 | 2A-32R | Red Lake Playa DCZ | Soil | NA | ET | 2023-03-07 | ET |  | auger/cryogenic extraction | liquid | 5019 |  | 0 | NA
sw176 | 2A-7R-4 | Red Lake Playa DCZ | Soil | NA | ET | 2023-03-07 | ET |  | auger/cryogenic extraction | liquid | 1061 |  | 0 | NA
sw177 | 2A-21R | Red Lake Playa DCZ | Soil | NA | ET | 2023-03-06 | ET |  | auger/cryogenic extraction | liquid | 3192 |  | 0 | NA
sw178 | 2A-37R-2 | Red Lake Playa DCZ | Soil | NA | ET | 2023-03-08 | ET |  | auger/cryogenic extraction | liquid | 6694 |  | 0 | NA
sw18 | MOJ-JT-60-Jan22sw | JT | Soil | NA | ET | 2022-01-18 | ET |  | auger/cryogenic extraction | liquid | 60 |  | 0 | NA
sw180 | NG-C-33-Aug23 | NancyGulch | Soil | NA | ET | 2023-08-27 | ET |  | auger/cryogenic extraction | liquid | 33 |  | 0 | NA
sw181 | NG-C-64-Aug23 | NancyGulch | Soil | NA | ET | 2023-08-27 | ET |  | auger/cryogenic extraction | liquid | 64 |  | 0 | NA
sw182 | NG-C-33-Aug23 | NancyGulch | Soil | NA | ET | 2023-08-27 | ET |  | auger/cryogenic extraction | liquid | 33 |  | 0 | NA
sw184 | NG-C-64-Aug23 | NancyGulch | Soil | NA | ET | 2023-08-27 | ET |  | auger/cryogenic extraction | liquid | 64 |  | 0 | NA
sw185 | JOR-CSAND-7-60-Sept23 | CSAND | Soil | NA | ET | 2023-09-09 | ET |  | auger/cryogenic extraction | liquid | 60 |  | 0 | NA
sw186 | JOR-CSAND-7-20-Sept23 | CSAND | Soil | NA | ET | 2023-09-09 | ET |  | auger/cryogenic extraction | liquid | 20 |  | 0 | NA
sw188 | MOJ-CRS-hole9-14-Sep23sw | CRS | Soil | NA | ET | 2023-09-26 | ET |  | auger/cryogenic extraction | liquid | 14 |  | 0 | NA
sw189 | MOJ-CRS-hole9-39-Sep23sw | CRS | Soil | NA | ET | 2023-09-26 | ET |  | auger/cryogenic extraction | liquid | 39 |  | 0 | NA
sw19 | MOJ-JT-20-Jan22sw | JT | Soil | NA | ET | 2022-01-18 | ET |  | auger/cryogenic extraction | liquid | 20 |  | 0 | NA
sw22 | NG-J-65-Aug21sw | NancyGulch | Soil | NA | ET | 2021-08-17 | ET |  | auger/cryogenic extraction | liquid | 65 |  | 0 | NA
sw23 | NG-J-65-Aug21sw | NancyGulch | Soil | NA | ET | 2021-08-17 | ET |  | auger/cryogenic extraction | liquid | 65 |  | 0 | NA
sw24 | MOJ-JT-58-Oct21sw | JT | Soil | NA | ET | 2021-10-16 | ET |  | auger/cryogenic extraction | liquid | 58 |  | 0 | NA
sw25 | MOJ-JT-22-Oct21sw | JT | Soil | NA | ET | 2021-10-16 | ET |  | auger/cryogenic extraction | liquid | 22 |  | 0 | NA
sw26 | JOR-CSAND-2-15-Mar22sw | CSAND | Soil | NA | ET | 2022-03-22 | ET |  | auger/cryogenic extraction | liquid | 15 |  | 0 | NA
sw27 | JOR-CSAND-2-51-Mar22sw | CSAND | Soil | NA | ET | 2022-03-22 | ET |  | auger/cryogenic extraction | liquid | 51 |  | 0 | NA
sw28 | NG-B-18-Nov21sw | NancyGulch | Soil | NA | ET | 2021-11-14 | ET |  | auger/cryogenic extraction | liquid | 18 |  | 0 | NA
sw29 | NG-B-62-Nov21sw | NancyGulch | Soil | NA | ET | 2021-11-14 | ET |  | auger/cryogenic extraction | liquid | 62 |  | 0 | NA
sw30 | NG-E-62.5-Mar22sw | NancyGulch | Soil | NA | ET | 2022-03-18 | ET |  | auger/cryogenic extraction | liquid | 62.5 |  | 0 | NA
sw31 | NG-M-54-Jun22sw | NancyGulch | Soil | NA | ET | 2022-06-01 | ET |  | auger/cryogenic extraction | liquid | 54 |  | 0 | NA
sw32 | NG-M-21-Jun22sw | NancyGulch | Soil | NA | ET | 2022-06-01 | ET |  | auger/cryogenic extraction | liquid | 21 |  | 0 | NA
sw33 | NG-E-62.5-Mar22sw-repeat | NancyGulch | Soil | NA | ET | 2022-03-18 | ET |  | auger/cryogenic extraction | liquid | 62.5 |  | 0 | NA
sw35 | MOJ-CRS-60-May22sw | CRS | Soil | NA | ET | 2022-05-15 | ET |  | auger/cryogenic extraction | liquid | 60 |  | 0 | NA
sw39 | MOJ-CRS-60-May22sw | CRS | Soil | NA | ET | 2022-05-15 | ET |  | auger/cryogenic extraction | liquid | 60 |  | 0 | NA
sw40 | MOJ-JT-94-May22sw | JT | Soil | NA | ET | 2022-05-15 | ET |  | auger/cryogenic extraction | liquid | 94 |  | 0 | NA
sw41 | MOJ-JT-14-May22sw | JT | Soil | NA | ET | 2022-05-15 | ET |  | auger/cryogenic extraction | liquid | 14 |  | 0 | NA
sw42 | NG-E-26.5-Mar22sw | NancyGulch | Soil | NA | ET | 2022-03-18 | ET |  | auger/cryogenic extraction | liquid | 26.5 |  | 0 | NA
sw43 | NG-E-17.5-Mar22sw | NancyGulch | Soil | NA | ET | 2022-03-18 | ET |  | auger/cryogenic extraction | liquid | 17.5 |  | 0 | NA
sw44 | MOJ-PJ-60-May22sw | PJ | Soil | NA | ET | 2022-05-16 | ET |  | auger/cryogenic extraction | liquid | 60 |  | 0 | NA
sw45 | MOJ-PJ-13-May22sw | PJ | Soil | NA | ET | 2022-05-16 | ET |  | auger/cryogenic extraction | liquid | 13 |  | 0 | NA
sw48 | JOR-CSAND-1-15-Oct21sw | CSAND | Soil | NA | ET | 2021-10-20 | ET |  | auger/cryogenic extraction | liquid | 15 |  | 0 | NA
sw49 | JOR-CSAND-1-80-Oct21sw | CSAND | Soil | NA | ET | 2021-10-20 | ET |  | auger/cryogenic extraction | liquid | 80 |  | 0 | NA
sw5 | MOJ-CRS-56-Oct21sw | CRS | Soil | NA | ET | 2021-10-17 | ET |  | auger/cryogenic extraction | liquid | 56 |  | 0 | NA
sw50 | JOR-CSAND-3-20-Jun22sw | CSAND | Soil | NA | ET | 2022-06-06 | ET |  | auger/cryogenic extraction | liquid | 20 |  | 0 | NA
sw51 | JOR-CSAND-3-50-Jun22sw | CSAND | Soil | NA | ET | 2022-06-06 | ET |  | auger/cryogenic extraction | liquid | 50 |  | 0 | NA
sw52 | MOJ-JT-90-Oct21sw | JT | Soil | NA | ET | 2021-10-16 | ET |  | auger/cryogenic extraction | liquid | 90 |  | 0 | NA
sw59 | JOR-CSAND-3-10-Jun22sw | CSAND | Soil | NA | ET | 2022-06-06 | ET |  | auger/cryogenic extraction | liquid | 10 |  | 0 | NA
sw62 | MOJ-CRS-72-Jan22sw | CRS | Soil | NA | ET | 2022-01-18 | ET |  | auger/cryogenic extraction | liquid | 72 |  | 0 | NA
sw63 | MOJ-JT-32-Jan22sw | JT | Soil | NA | ET | 2022-01-18 | ET |  | auger/cryogenic extraction | liquid | 32 |  | 0 | NA
sw64 | MOJ-JT-92-Jan22sw | JT | Soil | NA | ET | 2022-01-18 | ET |  | auger/cryogenic extraction | liquid | 92 |  | 0 | NA
sw66 | NG-J-25-Aug21sw | NancyGulch | Soil | NA | ET | 2021-08-17 | ET |  | auger/cryogenic extraction | liquid | 25 |  | 0 | NA
sw67 | NG-M-13-Jun22sw | NancyGulch | Soil | NA | ET | 2022-06-01 | ET |  | auger/cryogenic extraction | liquid | 13 |  | 0 | NA
sw68 | MOJ-JT-56-May22sw | JT | Soil | NA | ET | 2022-05-15 | ET |  | auger/cryogenic extraction | liquid | 56 |  | 0 | NA
sw69 | NG-B-12-Nov21sw | NancyGulch | Soil | NA | ET | 2021-11-14 | ET |  | auger/cryogenic extraction | liquid | 12 |  | 0 | NA
sw7 | JOR-CSAND-1-15-Oct21sw | CSAND | Soil | NA | ET | 2021-10-20 | ET |  | auger/cryogenic extraction | liquid | 15 |  | 0 | NA
sw72 | MOJ-JT-23-May22sw | JT | Soil | NA | ET | 2022-05-15 | ET |  | auger/cryogenic extraction | liquid | 23 |  | 0 | NA
sw74 | MOJ-CRS-11-May22sw | CRS | Soil | NA | ET | 2022-05-15 | ET |  | auger/cryogenic extraction | liquid | 11 |  | 0 | NA
sw75 | MOJ-CRS-36-Oct21sw | CRS | Soil | NA | ET | 2021-10-17 | ET |  | auger/cryogenic extraction | liquid | 36 |  | 0 | NA
sw76 | JOR-CSAND-2-69-Mar22sw | CSAND | Soil | NA | ET | 2022-03-22 | ET |  | auger/cryogenic extraction | liquid | 69 |  | 0 | NA
sw78 | NG-B-30-Nov21sw | NancyGulch | Soil | NA | ET | 2021-11-14 | ET |  | auger/cryogenic extraction | liquid | 30 |  | 0 | NA
sw81 | NG-D-12-Aug22sw | NancyGulch | Soil | NA | ET | 2022-08-19 | ET |  | auger/cryogenic extraction | liquid | 12 |  | 0 | NA
sw82 | NG-D-20-Aug22 | NancyGulch | Soil | NA | ET | 2022-08-19 | ET |  | auger/cryogenic extraction | liquid | 20 |  | 0 | NA
sw83 | NG-M-38-Jun22sw | NancyGulch | Soil | NA | ET | 2022-06-01 | ET |  | auger/cryogenic extraction | liquid | 38 |  | 0 | NA
sw86 | JOR-CSAND-4-10-Sep22sw | CSAND | Soil | NA | ET | 2022-09-09 | ET |  | auger/cryogenic extraction | liquid | 10 |  | 0 | NA
sw87 | MOJ-CRS-5-Sep22sw | CRS | Soil | NA | ET | 2022-09-16 | ET |  | auger/cryogenic extraction | liquid | 5 |  | 0 | NA
sw88 | MOJ-CRS-17-Sep22sw | CRS | Soil | NA | ET | 2022-09-16 | ET |  | auger/cryogenic extraction | liquid | 17 |  | 0 | NA
sw9 | JOR-CSAND-1-61-Oct21sw-repeat | CSAND | Soil | NA | ET | 2021-10-20 | ET |  | auger/cryogenic extraction | liquid | 61 |  | 0 | NA
sw90 | MOJ-JT-5-Sep22sw | JT | Soil | NA | ET | 2022-09-16 | ET |  | auger/cryogenic extraction | liquid | 5 |  | 0 | NA
sw91 | MOJ-JT-20-Sep22sw | JT | Soil | NA | ET | 2022-09-16 | ET |  | auger/cryogenic extraction | liquid | 20 |  | 0 | NA
sw92 | JOR-CSAND-4-59-Sep22sw | CSAND | Soil | NA | ET | 2022-09-09 | ET |  | auger/cryogenic extraction | liquid | 59 |  | 0 | NA
sw93 | MOJ-JT-65-Sep22sw | JT | Soil | NA | ET | 2022-09-16 | ET |  | auger/cryogenic extraction | liquid | 65 |  | 0 | NA
sw94 | MOJ-PJ-5-Sep22sw | PJ | Soil | NA | ET | 2022-09-17 | ET |  | auger/cryogenic extraction | liquid | 5 |  | 0 | NA
sw95 | MOJ-PJ-63-Sep22sw | PJ | Soil | NA | ET | 2022-09-17 | ET |  | auger/cryogenic extraction | liquid | 63 |  | 0 | NA
sw96 | MOJ-PJ-15-Sep22sw | PJ | Soil | NA | ET | 2022-09-17 | ET |  | auger/cryogenic extraction | liquid | 15 |  | 0 | NA
sw97 | MOJ-CRS-31-May22sw | CRS | Soil | NA | ET | 2022-05-15 | ET |  | auger/cryogenic extraction | liquid | 31 |  | 0 | NA
sw98 | MOJ-PJ-24-May22sw | PJ | Soil | NA | ET | 2022-05-16 | ET |  | auger/cryogenic extraction | liquid | 24 |  | 0 | NA
Note on A1: gjbowen: primary key, must be unique per sample
Note on B1: Gabe Bowen: reserved for SPATIAL lab
Note on C1: gjbowen: relate to site_ID in sites table
Note on D1: gjbowen: • Bottled • Canal • Ground • Lake • Leaf • Mine • Ocean • Precipitation • River_or_stream • Snow_pit • Soil • Spring • Stem • Sprinkler • Tap • Vapor
Note on E1: gjbowen: start of sample collection
Note on G1: gjbowen: end sample collection
Note on L1: Gabe Bowen: use negative values for height above surface
Note on N1: gjbowen: 0 = No 1 = Yes
Note on P1: Gabe Bowen: reserved for SPATIAL lab

## Water_Isotope_Data
WI_Analysis_ID | Sample_ID | d2H | d18O | D17O | d2H_Analytical_SD | d18O_Analytical_SD | D17O_Analytical_SD | WI_Analysis_Date | WI_Analysis_Source | WI_Analysis_Instrument | WI_Analysis_Ignore | WI_Analysis_Comments
IPL-21W-1907 | IPL-21W-1907 | -116.6635 | -15.2427 |  | 0.72074 | 0.18436 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-21W-1908 | IPL-21W-1908 | -129.9157 | -16.9444 |  | 1.1459 | 0.34715 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-22W-1911 | IPL-22W-1911 | -69.2448 | -9.2657 |  | 1.2613 | 0.3967 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-22W-1912 | IPL-22W-1912 | -67.9518 | -9.4353 |  | 0.58359 | 0.17893 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-22W-1913 | IPL-22W-1913 | -80.3459 | -11.7345 |  | 0.53668 | 0.16972 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-22W-1914 | IPL-22W-1914 | -69.3146 | -9.2566 |  | 0.49418 | 0.18682 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-22W-1915 | IPL-22W-1915 | -85.7597 | -9.5283 |  | 0.34338 | 0.17364 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-21W-1918 | IPL-21W-1918 | -51.6257 | -6.8482 |  | 0.50193 | 0.18371 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-21W-1919 | IPL-21W-1919 | -112.0797 | -14.7476 |  | 0.64642 | 0.17418 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-21W-1932 | IPL-21W-1932 | -109.324 | -13.6532 |  | 0.37104 | 0.17415 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-22W-1933 | IPL-22W-1933 | -92.0897 | -13.0225 |  | 0.0060845 | 0.01782 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-22W-1935 | IPL-22W-1935 | -87.7447 | -12.2242 |  | 0.3759 | 0.17562 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-22W-1936 | IPL-22W-1936 | -104.5793 | -14.2659 |  | 0.35697 | 0.18124 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-22W-1944 | IPL-22W-1944 | -76.9617 | -11.1376 |  | 0.40007 | 0.17365 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-19W-1945 | IPL-19W-1945 | -61.1288 | -8.9579 |  | 0.437 | 0.18357 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-22W-1946 | IPL-22W-1946 | -76.2697 | -11.1072 |  | 0.46159 | 0.18421 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-18W-1949 | IPL-18W-1949 | -68.8594 | -8.4684 |  | 0.75467 | 0.18758 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-18W-1950 | IPL-18W-1950 | -77.6244 | -10.2851 |  | 0.41546 | 0.17793 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-19W-1951 | IPL-19W-1951 | -105.7365 | -14.1913 |  | 0.38733 | 0.17117 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-18W-1952 | IPL-18W-1952 | -85.4985 | -10.8356 |  | 1.1174 | 0.30113 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-19W-1953 | IPL-19W-1953 | 33.5228 | 11.1348 |  | 1.2914 | 0.21118 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-19W-1955 | IPL-19W-1955 | -24.9821 | -5.1068 |  | 0.47961 | 0.18211 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-19W-1956 | IPL-19W-1956 | -150.2203 | -19.3811 |  | 0.48489 | 0.16839 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-19W-1957 | IPL-19W-1957 | -3.5673 | 4.4569 |  | 0.4761 | 0.20316 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-19W-1958 | IPL-19W-1958 | -116.0024 | -14.3163 |  | 0.66552 | 0.18006 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-22W-1969 | IPL-22W-1969 | -50.4988 | -7.7728 |  | 0.78542 | 0.19282 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-22W-1970 | IPL-22W-1970 | -32.9755 | -5.2575 |  | 0.99474 | 0.21224 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-22W-1972 | IPL-22W-1972 | -78.353 | -11.2903 |  | 0.73217 | 0.19961 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-22W-1973 | IPL-22W-1973 | -61.9488 | -8.1608 |  | 0.961 | 0.2379 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-22W-1974 | IPL-22W-1974 | -62.1695 | -8.6085 |  | 0.7058 | 0.18926 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-22W-1975 | IPL-22W-1975 | -35.4025 | -4.5362 |  | 1.5717 | 0.27869 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-22W-1976 | IPL-22W-1976 | -62.6146 | -8.6585 |  | 0.60392 | 0.18376 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-22W-1999 | IPL-22W-1999 | -111.7013 | -14.893 |  | 0.73193 | 0.18004 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-22W-2001 | IPL-22W-2001 | -93.6151 | -13.0243 |  | 1.1008 | 0.45484 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-22W-2002 | IPL-22W-2002 | -53.3648 | -7.1412 |  | 0.59114 | 0.17522 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-22W-2040 | IPL-22W-2040 | -94.1235 | -11.9414 |  | 0.35776 | 0.18069 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-22W-2041 | IPL-22W-2041 | -87.8164 | -10.7374 |  | 0.7476 | 0.17395 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-22W-2054 | IPL-22W-2054 | -29.2308 | -4.2596 |  | 0.61029 | 0.18717 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-21W-2057 | IPL-21W-2057 | -66.5959 | -8.6285 |  | 0.45691 | 0.17806 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-21W-2058 | IPL-21W-2058 | -5.1382 | 1.0158 |  | 0.59279 | 0.19019 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-21W-2059 | IPL-21W-2059 | -67.6607 | -8.6878 |  | 0.63044 | 0.017403 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-21W-2060 | IPL-21W-2060 | -5.8205 | 0.59601 |  | 0.56406 | 0.2059 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-21W-2063 | IPL-21W-2063 | -65.1 | -8.2 |  | NA | NA |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-21W-2064 | IPL-21W-2064 | -61.6458 | -7.5861 |  | 0.53131 | 0.18294 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2069 | IPL-23W-2069 | -62.85 | -8.78 |  | NA | NA |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2072 | IPL-23W-2072 | -31.523 | -4.4982 |  | 0.62171 | 0.049401 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2075 | IPL-23W-2075 | -19.5808 | -3.7538 |  | 0.50183 | 0.17868 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2076 | IPL-23W-2076 | 7.4876 | 0.87502 |  | 0.62664 | 0.18833 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2079 | IPL-23W-2079 | 23.0298 | 4.6338 |  | 0.71792 | 0.19313 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2080 | IPL-23W-2080 | 21.1028 | 2.5457 |  | 0.60267 | 0.17738 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2081 | IPL-23W-2081 | 9.1026 | 1.0561 |  | 0.43099 | 0.18308 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2082 | IPL-23W-2082 | 5.8826 | -0.97766 |  | 0.41905 | 0.18996 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2083 | IPL-23W-2083 | 5.0283 | 0.14306 |  | 0.41244 | 0.17986 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2084 | IPL-23W-2084 | -4.4438 | -1.033 |  | 0.43592 | 0.17704 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2085 | IPL-23W-2085 | 21.9986 | 4.1548 |  | 0.51092 | 0.19208 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2086 | IPL-23W-2086 | -60.5513 | -8.6391 |  | 0.65207 | 0.18014 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2087 | IPL-23W-2087 | -62.0097 | -8.9087 |  | 0.37089 | 0.1769 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2088 | IPL-23W-2088 | -103.8663 | -13.9716 |  | 0.75163 | 0.17993 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2089 | IPL-23W-2089 | -81.3397 | -10.8587 |  | 0.36448 | 0.17806 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2090 | IPL-23W-2090 | -46.7933 | -5.176 |  | 0.56421 | 0.1881 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2091 | IPL-23W-2091 | -29.8038 | -3.413 |  | 0.4318 | 0.17749 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2092 | IPL-23W-2092 | -19.2372 | -3.8269 |  | 0.5057 | 0.17887 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2093 | IPL-23W-2093 | -2.4055 | -1.1398 |  | 0.4629 | 0.18838 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2094 | IPL-23W-2094 | 0.2545 | -0.72964 |  | 0.4427 | 0.18478 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2095 | IPL-23W-2095 | -46.4288 | -5.7549 |  | 0.49072 | 0.17514 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2096 | IPL-23W-2096 | -44.6221 | -8.4784 |  | 0.39349 | 0.17847 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2120 | IPL-23W-2120 | -42.3441 | -5.9729 |  | 0.43093 | 0.18514 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2121 | IPL-23W-2121 | -66.5652 | -8.7255 |  | 0.62384 | 0.18364 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2122 | IPL-23W-2122 | -76.1632 | -9.8029 |  | 0.45282 | 0.17376 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2123 | IPL-23W-2123 | -67.8778 | -8.7856 |  | 0.41682 | 0.19554 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2125 | IPL-23W-2125 | -35.7009 | -5.5385 |  | 1.0356 | 0.044598 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2126 | IPL-23W-2126 | -82.6794 | -11.6278 |  | 0.46929 | 0.022843 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2127 | IPL-23W-2127 | -56.5462 | -8.0035 |  | 0.48045 | 0.19407 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2128 | IPL-23W-2128 | 6.4608 | 4.4603 |  | 0.68215 | 0.2071 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2167 | IPL-23W-2167 | -138.0553 | -17.583 |  | 1.0682 | 0.059688 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2168 | IPL-23W-2168 | -140.5008 | -17.6355 |  | 0.33146 | 0.077455 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2169 | IPL-23W-2169 | -140.1854 | -17.6539 |  | 0.24533 | 0.085561 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2170 | IPL-23W-2170 | -135.6284 | -17.3385 |  | 0.34012 | 0.10233 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2171 | IPL-23W-2171 | -97.1846 | -12.7591 |  | 0.55011 | 0.18006 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2467 | IPL-23W-2467 | -91.0789 | -12.3398 |  | 0.65918 | 0.19151 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2472 | IPL-23W-2472 | -67.3916 | -8.6415 |  | 0.42684 | 0.1722 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2473 | IPL-23W-2473 | -86.0684 | -11.5888 |  | 0.5893 | 0.18669 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2474 | IPL-23W-2474 | -67.6711 | -8.778 |  | 0.41652 | 0.18716 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2475 | IPL-23W-2475 | -4.1861 | 0.86958 |  | 0.63686 | 0.19962 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-23W-2481 | IPL-23W-2481 | -76.5431 | -10.6923 |  | 0.48984 | 0.17731 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw10 | sw10 | -91.0247 | -0.31115 |  | 0.77528 | 0.20268 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw100 | sw100 | -54.2567 | -1.3407 |  | 0.37693 | 0.17366 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw102 | sw102 | -24.5399 | 8.0123 |  | 0.52547 | 0.19837 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw106 | sw106 | -23.678 | 8.609 |  | 0.49816 | 0.20164 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw107 | sw107 | -18.799 | 7.5928 |  | 0.47974 | 0.18148 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw108 | sw108 | -38.864 | 2.7961 |  | 1.5588 | 0.17181 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw109 | sw109 | -49.2244 | -2.5143 |  | 0.37212 | 0.17413 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw11 | sw11 | -91.3919 | -3.316 |  | 0.36772 | 0.20035 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw113 | sw113 | -26.7083 | 9.7526 |  | 0.56919 | 0.1771 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw114 | sw114 | -33.6955 | 3.9935 |  | 0.54402 | 0.1956 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw115 | sw115 | -48.8065 | -2.7295 |  | 0.54437 | 0.18338 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw118 | sw118 | -74.4812 | -5.8875 |  | 0.4979 | 0.18398 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw119 | sw119 | -94.1341 | -6.0653 |  | 0.43329 | 0.18726 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw120 | sw120 | -70.0603 | -8.82 |  | 0.42898 | 0.18357 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw121 | sw121 | -53.5424 | -0.91661 |  | 0.50149 | 0.20314 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw122 | sw122 | -46.411 | -5.4652 |  | 0.51052 | 0.18016 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw123 | sw123 | -38.5113 | 1.321 |  | 0.47215 | 0.19432 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw124 | sw124 | -46.7135 | -6.0653 |  | 0.40282 | 0.19289 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw125 | sw125 | -67.6548 | -6.5367 |  | 0.42538 | 0.18205 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw126 | sw126 | -68.0852 | -4.0099 |  | 0.40034 | 0.19073 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw127 | sw127 | -64.7702 | -8.7382 |  | 0.39741 | 0.17346 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw128 | sw128 | -76.683 | -9.2036 |  | 0.35446 | 0.16943 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw129 | sw129 | -115.9403 | -11.7397 |  | 0.42427 | 0.18126 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw130 | sw130 | -29.0065 | 4.1116 |  | 0.75401 | 0.2069 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw131 | sw131 | -134.1765 | -15.7277 |  | 0.8253 | 0.17681 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw132 | sw132 | -116.8579 | -11.7579 |  | 0.34996 | 0.18449 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw134 | sw134 | -36.0049 | 2.5659 |  | 0.71944 | 0.20092 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw135 | sw135 | -47.018 | 1.8667 |  | 0.43145 | 0.19232 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw137 | sw137 | -32.2165 | 3.5752 |  | 0.45001 | 0.19622 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw138 | sw138 | -31.2072 | 3.1493 |  | 0.47909 | 0.20285 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw139 | sw139 | -31.1514 | 3.4146 |  | 0.46381 | 0.19713 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw14 | sw14 | -77.1699 | -6.9652 |  | 0.50861 | 0.18383 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw140 | sw140 | -31.2946 | 2.8735 |  | 0.53153 | 0.20298 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw141 | sw141 | -101.4912 | -11.2712 |  | 0.77193 | 0.17981 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw143 | sw143 | -69.2696 | -8.367 |  | 1.1466 | 0.065513 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw145 | sw145 | -48.8536 | 2.8692 |  | 0.36878 | 0.19464 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw147 | sw147 | -38.2113 | -1.7863 |  | 0.3977 | 0.18944 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw148 | sw148 | -37.957 | -1.7513 |  | 0.2605 | 0.022006 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw149 | sw149 | -35.0737 | 4.3239 |  | 0.45218 | 0.046018 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw15 | sw15 | -46.015 | 0.082336 |  | 0.60526 | 0.19956 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw150 | sw150 | -37.4675 | 3.5413 |  | 0.42142 | 0.19503 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw151 | sw151 | -64.2843 | -6.3963 |  | 0.40232 | 0.18037 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw152 | sw152 | -38.6638 | -3.5914 |  | 0.48768 | 0.17829 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw153 | sw153 | -114.2982 | -11.3631 |  | 0.61462 | 0.18197 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw154 | sw154 | -114.5089 | -11.3357 |  | 0.39573 | 0.1771 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw155 | sw155 | -99.2932 | -10.7596 |  | 0.38322 | 0.17879 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw156 | sw156 | -119.3837 | -11.7716 |  | 0.73406 | 0.24442 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw157 | sw157 | -77.5807 | -4 |  | 0.52099 | 0.17904 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw158 | sw158 | -112.8237 | -10.1437 |  | 0.46993 | 0.17286 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw159 | sw159 | -113.6378 | -10.3547 |  | 0.40353 | 0.17778 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw16 | sw16 | -82.2814 | -8.999 |  | 0.41421 | 0.18822 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw160 | sw160 | -66.1729 | -1.9302 |  | 0.48251 | 0.19666 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw161 | sw161 | -77.583 | -9.0651 |  | 0.39965 | 0.18032 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw162 | sw162 | -43.3131 | -3.1579 |  | 0.51067 | 0.18132 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw163 | sw163 | -42.9668 | -3.2277 |  | 0.46931 | 0.18231 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw165 | sw165 | -110.1242 | -9.4322 |  | 0.60362 | 0.17679 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw167 | sw167 | -126.9631 | -14.7203 |  | 0.62775 | 0.18591 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw168 | sw168 | -137.3501 | -16.6577 |  | 0.43271 | 0.19401 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw169 | sw169 | -35.4927 | 5.6205 |  | 0.78611 | 0.20861 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw17 | sw17 | -70.5138 | -3.7201 |  | 0.44149 | 0.20687 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw170 | sw170 | -45.2254 | 0.14406 |  | 0.45605 | 0.19559 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw171 | sw171 | -39.9969 | 1.986 |  | 0.47877 | 0.20381 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw172 | sw172 | -31.8673 | 3.6023 |  | 0.25497 | 0.012473 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw173 | sw173 | -51.8311 | -4.7394 |  | 0.41017 | 0.17477 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw174 | sw174 | -60.6349 | -7.0998 |  | 0.40345 | 0.1883 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw176 | sw176 | -91.5499 | -7.5269 |  | 0.38608 | 0.168 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw177 | sw177 | -55.137 | -6.7717 |  | 0.42168 | 0.17932 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw178 | sw178 | -51.7812 | -6.4863 |  | 0.38741 | 0.17708 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw18 | sw18 | -60.4924 | -0.94258 |  | 0.55171 | 0.19666 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw180 | sw180 | -106.6102 | -9.3716 |  | 0.40146 | 0.17511 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw181 | sw181 | -119.0601 | -12.0072 |  | 0.36806 | 0.17977 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw182 | sw182 | -108.843 | -9.7273 |  | 0.38127 | 0.18681 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw184 | sw184 | -114.7099 | -11.7982 |  | 0.58924 | 0.18326 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw185 | sw185 | -29.4743 | 5.597 |  | 1.8029 | 0.2363 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw186 | sw186 | -20.8688 | 7.3307 |  | 0.45437 | 0.19287 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw188 | sw188 | -44.0779 | 5.5689 |  | 0.49005 | 0.19139 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw189 | sw189 | -46.4825 | 2.2757 |  | 0.37732 | 0.18708 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw19 | sw19 | -82.8935 | -8.4501 |  | 0.40212 | 0.18279 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw22 | sw22 | -114.7377 | -11.2867 |  | 0.73349 | 0.18272 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw23 | sw23 | -111.4348 | -10.5042 |  | 0.3802 | 0.18401 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw24 | sw24 | -75.1363 | -2.6198 |  | 0.42561 | 0.19382 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw25 | sw25 | -26.3648 | 9.5236 |  | 0.85351 | 0.22104 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw26 | sw26 | -34.839 | 8.7679 |  | 0.43496 | 0.20777 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw27 | sw27 | -37.0689 | 2.5095 |  | 0.52668 | 0.19772 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw28 | sw28 | -89.6681 | -3.2152 |  | 0.7046 | 0.19537 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw29 | sw29 | -109.7699 | -9.5329 |  | 0.39153 | 0.18328 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw30 | sw30 | -117.9872 | -11.3674 |  | 0.39355 | 0.18697 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw31 | sw31 | -112.3331 | -10.1757 |  | 0.44431 | 0.19143 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw32 | sw32 | -115.8148 | -11.0532 |  | 0.35172 | 0.17439 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw33 | sw33 | -116.2 | -10.991 |  | 0.35639 | 0.1894 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw35 | sw35 | -45.2591 | 2.9384 |  | 0.65766 | 0.19471 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw39 | sw39 | -43.8004 | 3.0721 |  | 0.44089 | 0.20046 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw40 | sw40 | -70.3279 | -3.8237 |  | 0.41517 | 0.19987 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw41 | sw41 | -41.854 | 9.554 |  | 0.41101 | 0.22144 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw42 | sw42 | -99.0407 | -7.3899 |  | 0.54442 | 0.18265 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw43 | sw43 | -108.1754 | -11.3728 |  | 0.37585 | 0.17939 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw44 | sw44 | -66.9154 | -3.8868 |  | 0.50138 | 0.20626 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw45 | sw45 | -44.557 | 7.2978 |  | 0.58349 | 0.23519 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw48 | sw48 | -15.8035 | 9.3167 |  | 0.8434 | 0.26449 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw49 | sw49 | -37.4449 | 2.8991 |  | 0.69546 | 0.24058 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw5 | sw5 | -34.5758 | 3.9178 |  | 0.54059 | 0.21041 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw50 | sw50 | -30.4774 | 10.7811 |  | 0.87083 | 0.30721 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw51 | sw51 | -34.0195 | 7.9819 |  | 0.78362 | 0.27684 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw52 | sw52 | -65.3694 | -3.2684 |  | 0.54691 | 0.18622 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw59 | sw59 | -45.1059 | 6.5803 |  | 0.46327 | 0.19703 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw62 | sw62 | -47.892 | 0.073474 |  | 0.46643 | 0.19968 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw63 | sw63 | -67.402 | -5.3248 |  | 0.41383 | 0.18034 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw64 | sw64 | -70.5469 | -4.7238 |  | 0.56281 | 0.1913 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw66 | sw66 | -91.3957 | -5.5145 |  | 0.5108 | 0.18016 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw67 | sw67 | -105.1183 | -8.8938 |  | 0.73429 | 0.24335 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw68 | sw68 | -56.1201 | -1.0355 |  | 0.73531 | 0.20247 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw69 | sw69 | -91.6837 | -4.9214 |  | 0.52772 | 0.18748 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw7 | sw7 | -14.0807 | 9.7305 |  | 0.63609 | 0.22049 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw72 | sw72 | -50.3854 | 2.7722 |  | 1.1354 | 0.01481 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw74 | sw74 | -41.281 | 9.8709 |  | 1.7954 | 0.5595 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw75 | sw75 | -25.6678 | 5.3674 |  | 1.2986 | 0.0030749 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw76 | sw76 | -41.3637 | 0.98609 |  | 1.1903 | 0.076957 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw78 | sw78 | -97.5748 | -5.6803 |  | 1.4223 | 0.4521 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw81 | sw81 | -56.1822 | -4.8682 |  | 1.4724 | 0.38856 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw82 | sw82 | -72.8211 | -6.2131 |  | 0.47067 | 0.17259 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw83 | sw83 | -106.9461 | -9.1269 |  | 0.3924 | 0.1792 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw86 | sw86 | -40.0775 | 3.9017 |  | 0.5412 | 0.18654 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw87 | sw87 | -48.1909 | 0.92978 |  | 0.41877 | 0.19163 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw88 | sw88 | -27.8093 | 3.1683 |  | 0.44769 | 0.18112 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw9 | sw9 | -38.8625 | 1.8482 |  | 0.4581 | 0.19415 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw90 | sw90 | -44.7411 | 5.625 |  | 0.39678 | 0.18138 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw91 | sw91 | -51.268 | -5.9673 |  | 0.44264 | 0.19144 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw92 | sw92 | -28.619 | 3.1373 |  | 0.49523 | 0.20048 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw93 | sw93 | -54.4793 | -1.2332 |  | 0.55619 | 0.18625 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw94 | sw94 | -47.2673 | 2.6099 |  | 0.40678 | 0.19061 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw95 | sw95 | -63.9483 | -3.8248 |  | 0.41747 | 0.17035 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw96 | sw96 | -30.5445 | 1.9247 |  | 0.56926 | 0.18727 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw97 | sw97 | -25.5847 | 8.1171 |  | 0.34314 | 0.010937 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
sw98 | sw98 | -54.9991 | -2.0157 |  | 0.47567 | 0.17646 |  |  | University of Michigan IsoPaleoLab | Picarro L2130-i CRDS | 0
IPL-21W-1907_D17O | IPL-21W-1907 |  | -15.0418 | 0.027923 |  | 0.18322 | 0.0065916 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 5 replicates
IPL-21W-1908_D17O | IPL-21W-1908 |  | -16.4873 | 0.032131 |  | 0.062279 | 0.00061674 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
IPL-22W-1913_D17O | IPL-22W-1913 |  | -11.4069 | 0.032606 |  | 0.3062 | 0.00047861 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
IPL-22W-1914_D17O | IPL-22W-1914 |  | -9.1057 | 0.024857 |  | 0.097451 | 0.0068947 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 3 replicates
IPL-22W-1915_D17O | IPL-22W-1915 |  | -9.328 | 0.036597 |  | 0.095933 | 0.0097125 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
IPL-21W-1918_D17O | IPL-21W-1918 |  | -6.7018 | -0.0018683 |  | 0.014062 | 0.0074901 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
IPL-21W-1919_D17O | IPL-21W-1919 |  | -14.6714 | 0.009562 |  | 0.11068 | 0.0092258 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
IPL-21W-1932_D17O | IPL-21W-1932 |  | -13.7625 | 0.024402 |  | 0.06106 | 0.0027196 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
IPL-22W-1935_D17O | IPL-22W-1935 |  | -12.2593 | 0.033368 |  | 0.26498 | 0.0029773 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
IPL-22W-1936_D17O | IPL-22W-1936 |  | -14.6631 | 0.032275 |  | 0.062867 | 0.0073074 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
IPL-22W-1944_D17O | IPL-22W-1944 |  | -11.297 | 0.024157 |  | 0.044889 | 0.0058227 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
IPL-18W-1952_D17O | IPL-18W-1952 |  | -10.846 | 0.047756 |  | 0.13272 | 0.005514 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
IPL-19W-1955_D17O | IPL-19W-1955 |  | -5.1531 | 0.010713 |  | 0.20164 | 0.013966 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
IPL-19W-1957_D17O | IPL-19W-1957 |  | 4.3749 | -0.02812 |  | 0.029774 | 0.011773 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
IPL-19W-1958_D17O | IPL-19W-1958 |  | -14.3233 | 0.035714 |  | 0.12187 | 0.001242 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 3 replicates
IPL-22W-1975_D17O | IPL-22W-1975 |  | -5.1813 | 0.0022137 |  | 0.022788 | 0.0033485 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
IPL-22W-2000_D17O | IPL-22W-2000 |  | -10.5745 | 0.024985 |  | 0.052495 | 0.00056169 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
IPL-22W-2002_D17O | IPL-22W-2002 |  | -7.3838 | 0.019274 |  | 0.042803 | 0.0013672 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
IPL-22W-2054_D17O | IPL-22W-2054 |  | -5.1711 | 0.0050631 |  | 0.11281 | 0.0045997 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
IPL-21W-2058_D17O | IPL-21W-2058 |  | -0.11031 | -0.013171 |  | 0.063913 | 0.0028195 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
IPL-21W-2060_D17O | IPL-21W-2060 |  | 0.2632 | -0.011112 |  | 0.030396 | 0.0026415 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
IPL-21W-2063_D17O | IPL-21W-2063 |  | -8.8951 | 0.024184 |  | 0.086908 | 0.0052884 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
IPL-21W-2064_D17O | IPL-21W-2064 |  | -7.913 | 0.01911 |  | 0.093551 | 0.0068311 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
IPL-23W-2069_D17O | IPL-23W-2069 |  | -9.3105 | 0.02926 |  | 0.062082 | 0.00052382 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
IPL-23W-2077_D17O | IPL-23W-2077 |  | 1.4103 | -0.00067484 |  | 0.041128 | 0.0034436 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
IPL-23W-2079_D17O | IPL-23W-2079 |  | 3.9165 | -0.025136 |  | 0.029458 | 0.0015306 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
IPL-23W-2082_D17O | IPL-23W-2082 |  | -1.465 | 0.010761 |  | 0.19572 | 0.0019638 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
IPL-23W-2087_D17O | IPL-23W-2087 |  | -9.2595 | 0.023173 |  | 0.0081268 | 0.0049761 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
IPL-23W-2091_D17O | IPL-23W-2091 |  | -4.1054 | 0.0031022 |  | 0.068538 | 0.0051162 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw100_D17O | sw100 |  | -1.3234 | -0.0031519 |  | 0.046298 | 0.0051021 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw106_D17O | sw106 |  | 9.7066 | -0.14812 |  | 0.017135 | 0.002181 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw107_D17O | sw107 |  | 7.2594 | -0.056486 |  | 0.013345 | 0.0024075 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw11_D17O | sw11 |  | -3.8237 | -0.047249 |  | 0.3192 | 0.0014278 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw113_D17O | sw113 |  | 9.4942 | -0.05666 |  | 0.013096 | 0.0006056 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw115_D17O | sw115 |  | -3.3853 | 0.01261 |  | 0.028058 | 0.0041362 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw129_D17O | sw129 |  | -11.8978 | 0.0036391 |  | 0.014342 | 0.00032908 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw14_D17O | sw14 |  | -6.5779 | -0.019467 |  | 0.01691 | 0.00089462 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw151_D17O | sw151 |  | -6.7664 | 0.015176 |  | 0.082724 | 0.0094371 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw152_D17O | sw152 |  | -3.8296 | -0.01343 |  | 0.10519 | 0.0011437 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw16_D17O | sw16 |  | -9.0834 | -0.0024833 |  | 0.1387 | 0.0068983 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw168_D17O | sw168 |  | -17.0172 | 0.043388 |  | 0.067969 | 0.0023936 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw172_D17O | sw172 |  | 3.2007 | -0.06196 |  | NA | NA |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 1 replicates
sw19_D17O | sw19 |  | -8.4865 | 0.0069515 |  | 0.045805 | 0.0037143 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw23_D17O | sw23 |  | -10.4785 | -0.0072317 |  | 0.011253 | 0.001024 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw29_D17O | sw29 |  | -9.9775 | 0.00095027 |  | 0.001107 | 0.0011381 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw31_D17O | sw31 |  | -10.5475 | -0.00064268 |  | 0.0099243 | 0.0053109 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw39_D17O | sw39 |  | 2.537 | -0.066422 |  | 0.016342 | 0.0052874 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw40_D17O | sw40 |  | -3.897 | -0.004909 |  | 0.012058 | 0.0080014 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw41_D17O | sw41 |  | 9.1936 | -0.10907 |  | 0.02229 | 0.0083052 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw42_D17O | sw42 |  | -7.6157 | -0.035767 |  | 0.0084829 | 0.0033679 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw45_D17O | sw45 |  | 6.8468 | -0.095603 |  | 0.51689 | 0.010676 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw50_D17O | sw50 |  | 10.7427 | -0.1469 |  | 0.012618 | 0.0025218 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw62_D17O | sw62 |  | 0.03983 | -0.030929 |  | 0.021758 | 0.0021735 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw69_D17O | sw69 |  | -4.9752 | -0.040074 |  | 0.020775 | 0.0056546 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw7_D17O | sw7 |  | 9.178 | -0.092122 |  | 0.089889 | 0.0034013 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw86_D17O | sw86 |  | 3.3614 | -0.038663 |  | 0.27056 | 0.00505 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw88_D17O | sw88 |  | 2.6301 | -0.07643 |  | 0.047093 | 0.0030413 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw9_D17O | sw9 |  | 1.4392 | -0.042603 |  | 0.011495 | 0.0010694 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw91_D17O | sw91 |  | -6.6304 | 0.024137 |  | 0.033709 | 0.0089305 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
sw93_D17O | sw93 |  | -1.7212 | -0.002504 |  | 0.013016 | 0.0034383 |  | University of Michigan IsoPaleoLab | Nu Perspective IRMS | 0 | values are average of 2 replicates
Note on A1: gjbowen: Primary key, unique per analyisis
Note on B1: gjbowen: Relate to Sampel_ID in Samples table
Note on L1: gjbowen: 0 = No 1 = Yes

## Climate_Data
Climate_ID | Sample_ID | Precipitation_mm | Mean_Temperature_C | Min_Temperature_C | Max_Temperature_C | Vapor_Pressure_hPa | Climate_Source | Climate_Comments
Note on A1: gjbowen: Primary key, unique per climate observation
Note on B1: gjbowen: Relate to Sample_ID in Samples table

## Projects
Project_ID | Contact_Name | Contact_Email | Citation | URL | Project_Name | License | Proprietary
| Julia Kelson | jrkelson@iu.edu | Kelson et al., Triple oxygen isotope composition of soil waters across three dryland sites and one forested site, US, submitted |  | CZ17O_SW |  | 0
Note on A1: Gabe Bowen: reserved for SPATIAL lab
Note on H1: Gabe Bowen: 0 = No 1 = Yes

## TableHeaderDescriptions
Sites | Description | Example | Required
Site_ID | A unique identifier for the site | BCC_001 | Yes
Site_Name | A general name for the site | Brighton stream | No
Latitude | Latitude in decimal degrees, S is negative | 45.112 | Yes
Longitude | Longitude in decimal degrees, W is negative | -111.23 | Yes
Elevation_mabsl | Elevation above sea level in meters | 1200 | No
Address | Address of collection location |  | No
City | City of collection | Salt Lake City | No
State_or_Province | State, two letter code | UT (not Utah) | No
Country | Country two letter code | US (not USA, or United States) | Yes
Site_Comments | Comments about site | Site is right next to a big stump | No
Samples | Description | Example | Required
Sample_ID | A unique idenfier for the sample | BCC_SW_001 | Yes
Sample_ID_2 | Descriptor, assigned by us at SPATIAL | Big Cottonwood stream | No
Site_ID | Matches Site_ID in Sites exactly | BCC_001 | Yes
Type | Sample type: Beer • Bottled • Canal • Cave_drip • Cloud_or_fog • Dew • Firn_core • Ground • Ice_core • Juice • Lake_or_pond • Leaf • Milk • Mine • Ocean • Precipitation • Rime • River_or_stream • Snow_pit • Soil • Spring • Sprinkler • Stem • Tap • Vapor • Wetland • Wine | Precipitation | Yes
Start_Date | Start datetime for collection of time-integrated sample, in local time, time in 24hr format | yyyy-mm-dd hh:mm | No
Start_Time_Zone | Timezone of collection, relative to UTC | 8 | No
Collection_Date | Datetime of sample collection in local time, time in 24hr format | yyyy-mm-dd hh:mm | Yes
Collection_Time_Zone | Timezone of sample collection, relative to UTC | 8 | No
Sample_Volume_ml | Sample volume in mL. Most useful for precipitation | 3.3 | No
Collector_type | Description of collector type | Funnel, dip | No
Phase | What phase the water was in (vapor, liquid, solid) | Liquid | No
Depth_meters | The depth of sampling, levels above ground entered as negative numbers | 0 | No
Sample_Source | Source of sample, whoever was responsible for sample collection | Annie Putman | No
Sample_Ignore | Whether the sample should be ignored because it may be compromised (1) or can be trusted (0). | 0 | Yes
Sample_Comments | Specific notes about sample |  | No
Project_ID | A unique idenfier assigned by us at SPATIAL to link to project table | 00103 | No
Water_Isotope_Data | Description | Example | Required
WI_Analysis_ID | a unique identifier for the water isotope analysis instance | BCC_SW_001-01 | Yes
Sample_ID | Matches sample ID in samples column | BCC_SW_001 | Yes
d2H | hydrogen isotope value calibrated on VSMOW-SLAP scale in permil | -65.1 | No
d18O | oxygen isotope value calibrated on VSMOW_SLAP scale, reported in permille | -0.5 | No
D17O | oxygen 17 isotope value in per mil |  | No
d2H_Analytical_SD | analytical standard deviation (from instrument) | 0.2 | No
d18O_Analytical_SD | analytical standard deviation (from instrument) | 0.01 | No
D17O_Analytical_SD | analytical standard deviation (from instrument) |  | No
WI_Analysis_Date | Date when water isotopes were analyzed | 2006-02-15 | No
WI_Analysis_Source | Which lab ran the analysis | SPATIAL | No
WI_Analysis_Instrument | What instrument the analysis was performed on | Picarro i2130 | No
WI_Analysis_Ignore | Whether the isotope measurement is trusted (0) or suspect (1) | 0 | Yes
WI_Analysis_Comments | Any comment about the analysis |  | No
Climate_Data | Description | Example | Required
Climate_ID | Unique identifier | BCC_SW_001-Clim | Yes
Sample_ID | Matches Sample_ID in Samples Table | BCC_SW_001 | Yes
Precipitation_mm | millimeters of precipitation | 3.1 | No
Mean_Temperature_C | mean temperature during sampling in celsius | 15.3 | No
Min_Temperature_C | minimum temperature during sampling in celsius | 13.1 | No
Max_Temperature_C | maximum temperature during sampling in celsius | 16.6 | No
Vapor_Pressure_hPa | Vapor pressure in hPa |  | No
Climate_Source | Source of climate information | Alta Collins Met station | No
Climate_Comments | Comments about climate observations | higher elevation and one canyon south | No
Projects | Description | Example | Required
Project_ID | Unique project identifier assigned by us at SPATIAL, matches Project_ID in samples | 00103 | No
Contact_Name | Contact name for dataset | Annie Putman | Yes
Contact_Email | Contact email for dataset | xxxxxx@utah.edu | Yes
Citation | However the dataset should be cited. Can be personal communication, but is usually a paper | personal communication | Yes
URL | can be the DOI, or URL where original dataset may be accessed |  | No
Project_Name | The name of the project | Cottonwood canyon water samples | Yes
License
Proprietary | Whether the data can be accessed by the public (0) are under embargo (1), or are available elsewhere under a license that does not allow redistribution (2) | 0 | Yes
Note on A27: gjbowen: Yes/No